## Slide 1
‘SLEEPSENTIEL’-
An IOT BASED SLEEP APNEA MONITORING DEVICE

## Slide 2
OVERVIEW
ABSTRACT
INTRODUCTION
METHODOLOGY & MATERIALS
RESULT & ANALYSIS
CONCLUSION & FUTURE WORKS
WORKING PROCEDURE
COSTING & COMPARATIVE ANALYSIS

## Slide 3
ABSTRACT
ADEQUATE SLEEP IS ESSENTIAL FOR HEALTHY LIFESTYLE
SLEEP APNEA ,A DISORDER ,RESULTS IS PHYSIOLOGICAL ALTERATIONS DURING SLEEP
PREVIOUSLY DEVELOPED DEVICES LACK THE CAPABILITY FOR REAL TIME MONITORING
SleepSentiel INCORPORATES A WEARABLE DEVICE DESIGNED TO CONTINUOUSLY MONITOR HEALTH CONDITIONS

## Slide 4
INTRODUCTION
SleepSentiel OBSERVES HEART RATE,ECG & MOVEMENT
WEARABLE DEVICE GATHERS DATA & SENDS REAL TIME DATA TO A CENTRALIZED CLOUD PLATFORM
OFFER REMOTE ACCESSIBILITY & PROACTIVE APPROACH FOR HEALTHCARE PROVIDERS
EASY TO NAVIGATE & PRIORITIZE EARLY DETECTION OF HEALTH CONCERNS

## Slide 5
INPUT LAYERS INCLUDE 3 SENSORS
METHODOLOGY & MATERIALS
METHODOLOGY
MICROCONTR-OLLER POSSESS WIFI CONNECTIVITY
OUTPUT LAYER INCLUDES MOBILE APPLICATION
CONNECTS INPUT & OUTPUT LAYER

## Slide 6
OUTLINE OF THE SYSYTEM
ESP-32
AD8232 ECG SENSOR
HEART RATE PULSE SENSOR
ACCELEROMETER
Blynk app

## Slide 7
MODULES & MATERIALS
BUILT-IN WIFI WHICH TRANSMITS DATA, COLLECTED BY MONITORING DEVICE TO BLYNK APP

## Slide 8
DETECTS CHANGING HEART RATE DURING SLEEP APNEA EPISODES
CAPTURES DETAILED WAVEFORM OF HEART’S ELECTRICAL ACTIVITY
MOVEMENT DATA CONTRIBUTES TO ASSESS SLEEP MONITORING

## Slide 9
WORKING PROCEDURE
Power setup
Start
ESP32 module Pin setup
Loop
Read ‘Analog’ Data from AD8232 sensor(ECG) & convert them into digital data
Read ‘Analog’ Data from heart rate pulse sensor(BPM) & convert them into digital data
Read ‘Analog’ Data from Accelerometer sensor(motion in X, Y, Z plane) & convert them into digital data
Receive & merge data from all sensor
Storing data for further analysis
WIFI on
Showing real time data in ‘blynk App’
Recognition Apnea conditions
Sending app notification and Email to alert apnea

## Slide 10
SCHEMATIC DIAGRAM OF PCB

## Slide 11
PCB IMPLEMENTATION

## Slide 12
BREAD-BOARD IMPLEMENTATION

## Slide 13
RESULT & ANALYSIS
HEART SENSOR- BPM,ECG SENSR - ECG WAVES & ACCELEROMETER-MOVEMENT
01
02
03
04
IF BREATHING STOPS FOR 15 SEC -AN ALERT VIA MAIL SENT
COUNTING THE ALERT MESSAGE,INSTANCES OF HALTING BREATHS CAN BE TALLIED
FLAT LINE SHOWN IN DATASHEET
WHILE BREATHING STOPS

## Slide 14
  DESIGN PROTOTYPE & VIEW OF REAL TIME DATA

## Slide 15
FIG : SENSORS ARE LINKED TO BODY

## Slide 16
FIG : NO SENSORS ARE LINKED
FIG : MAIL IS SENT

## Slide 17
COST & COMPARATIVE ANALLYSIS

## Slide 18
COMPONENTS | QUANTITY | PRICE
HEART PULSE SENSOR | 1 | 280
AD8232 ECG SENSOR | 1 | 790
ADXL335- ACCELEROMETER | 1 | 700
ESP -32 | 1 | 500
PCB | 1 | 500
Female header | 4 | 60
COST

## Slide 19
VIDEO REQUIRED
COMPARATIVE ANALYSIS
PREVIOUS MODELS
SleepSentiel
BASED ON ONE OR TWO PARAMETERS
NO ALERT SYSYTEM
ALERT SYSYTEM
MONITORS 3 HEALTH CONDITIONS SIMULTANEOUSLY

## Slide 20
CONCLUSION & FUTURE WORK

## Slide 21
SUSTAINIBILITY
ACCESSIBILITY
INTEGRATION
DETECTION
EARLY DISCOVERY OF SLEEP DISORDER
PHYSICALLY DISABLED PEOPLE CAN ACCESS IT EASILY
DURATION OF SLEEP APNEA CAN BE IDENTIFIED
ADDIITIONAL SENSORS CAN BE INCORPORATED TO ENHANCE SOPHISTICATION
CONCLUSION

## Slide 22
PROSPECTIVE ENDEAVORS
SPO2 SENSOR
LOWER SP02 CAN BE DETECTED
ACCELEROMETER
  ANALYSIS OF X,Y & Z PARAMETERS REVEAL PATIENT’S POSTURE

## Slide 23
THANK YOU
PRESENTED BY-
REYANA SHAHID
ID : 1911002
SABICUNNAHAR
ID : 1911003
SAIFUL ISLAM SAIF
ID : 1911011